SECTION 12 21 16

M-2500/M-2700 VERTICAL BLIND HEADRAIL SYSTEM

Notes to Specifier:

Text in italics is information for specifiers and should be deleted in project specifications.

PART 1	GENERAL

1.1	SUMMARY

A.	Section Includes:

1.	Medium wall, aluminum headrail strap system, vertical louver blinds.

B.	Related Sections:

Note to specifier:  Edit the following.  Coordinate section numbers with those used on the project.  Add others as appropriate.

1.	Section 06 10 00 - Rough Carpentry:  Blocking and backing for attachment of vertical blinds to wood substrate.

2.	Section 09 22 00 - Supports for Plaster and Gypsum Board:  Blocking and backing for attachment of vertical blinds to metal substrate.

3.	[Sections specifying other window treatment as appropriate].

1.2	REFERENCES:

Glass Association of North America:

Glazing Manual.

1.3	SUBMITTALS

A.	Product Data: Submit manufacturer's product data for each type vertical blind provided under this Section.  Include construction details, dimensions of each vertical blind, and description of each component.

B.	Shop Drawings: If required, provide shop drawings, prepared after field measurements are taken, showing location and extent of vertical blinds.  Provide elevations, sections, and details.  Show bracket sizes for each condition.  Show size and location of blocking and backing required for installation of vertical blinds. Show mounting details and method of attachment of vertical blind brackets to backing.

C.	Schedule:  Provide schedule of vertical blinds.  Use the same designations as indicated on drawings.

D.	Samples:

1.	Vertical Vane Material:  Not less than 8 inches long, with specified finish applied.  If required, illustrate complete range of colors and textures available for selection.

Note to specifier:  Delete the following if no valance.

2.	Valance:  If required, submit 12" long samples of specified type.

Note to specifier:  If required, add samples of accessories, brackets, and wands if size of project justifies.

E.	Installation Instructions:  Submit complete manufacturer's installation instructions.

F.	Qualification Data: If required, submit a letter indicating that installer is authorized by the manufacturer to install specified product.

G.	Installer's Experience Record:  Submit a list of at least five 5 installations that have been installed for a minimum of 3 years of vertical blinds similar in size, type and scope as described in this document.  Include contact names and phone numbers.

H.	Maintenance Data:  Submit manufacturer's recommended cleaning and maintenance data as specified in Section 01 74 00 [            ].  Include maintenance procedures and recommended maintenance materials. Include precautions about cleaning materials that could damage or discolor the vertical blinds.

1.4	QUALITY ASSURANCE

A.	Manufacturer Qualifications: Firm specializing in manufacturing vertical blinds with at least 10 years experience.

B.	Installers shall be specially trained in the installation of vertical blinds.  Installers shall have completed at least 5 commercial installations of vertical blinds similar to those specified in this Section.

1.5	SUBSTITUTIONS:

A.	Refer to Section 01 25 00 [        ] for procedures.

B.	Substitutions: Not permitted.

1.6	DELIVERY, STORAGE, AND HANDLING

A.	Delivery:  Deliver materials in manufacturer's unopened packages, labeled to show manufacturer's name and product name.

B.	Storage:

1.	Store materials in a clean area, free of corrosive fumes, dust, and away from construction activities.

2.	Stack vertical blinds horizontally using plastic or wood shims such that drainage and ventilation are provided for, and such that water cannot accumulate in, about or upon containers.

3.	Cover stacks with tarpaulins or plastic such that ventilation is provided for, and such that contaminants are prevented from contacting surfaces.

1.7	PROJECT CONDITIONS

A.	Environmental Limitations:  Do not install vertical blinds until construction and wet and dirty finish work in spaces, including painting, is complete.  Air conditioning system shall be operating, and ambient temperature shall be between 60 degrees F. and 85 degrees F.  Relative humidity shall be between 45 percent and 65 percent.

B.	Field Measurements:  Verify dimensions of adjoining construction by field measurements before fabrication. Allow clearances for operable glazed units' operation hardware.

C.	Before Installation Begins of Vertical blinds

1.	Roof shall watertight, windows and frames installed and glazed, and interior doors hung.

2.	Wet work including concrete, masonry, plaster, stucco, and terrazzo, shall be complete and dry.

3.	Application of gypsum wallboard, joint treatment, taping and sanding shall be complete and dry.

4.	Ceilings, window pockets, electrical, and mechanical work above the product shall be complete.

5.	Flooring materials such as carpet, tile, etc. shall be completed.

D.	Electrical power (110 volt AC) shall be available for installer's tools within 500 feet of product installation areas.

1.8	WARRANTY

A.	Manufacturer's Limited Warranty: Provide manufacturer's 25 year limited warranty against product defects.

PART 2	PRODUCTS

2.1	ACCEPTABLE MANUFACTURER:

Mariak Contract

575 West Manville Street

Rancho Dominguez, CA 90220.

(800) 562-7425

FAX (800) 459-6999

www.mariak.com

2.2	ACCEPTABLE PRODUCT:

Note to specifier:  Select from control options specified below:

Mariak M-2500 Aluminum Headrail Strap System (Medium Wall Headrail) with Cord & Chain Control feature

Mariak M-2700 Aluminum Headrail Strap System (Medium Wall Headrail) with Safety Track Wand Control feature

2.3	FABRICATION

A.	General:

1.	Vertical blinds shall be free of sharp edges, burrs or other defects.

2.	Size Limitations:

Maximum Width:  240"

Maximum Height:  156"

Vertical blinds over 126” in width require split draw with center opening vanes.

3.	Prior to fabrication, verify actual opening dimensions by on-site measurement.  Calculate vertical blind dimensions to fit within specified tolerances.

4.	Fabricate vertical blinds to fill openings from head to sill and jamb-to-jamb.  The minimum clearance blind-to-blind shall be 1/4 inch.  Locate vertical blind divisions at mullions unless otherwise indicated on submittals.

B. Track:  Aluminum alloy 6063 T6, 1-3/4" wide and 1-1/4" high.  Minimum wall thickness shall not be less than 
                0.040” ± 0.010”.

Note to specifier:  select from following colors

Track color shall be painted [white] [ivory] [clear anodized].

- Carrier:  Carrier shall have 7/16" polyacetal plastic body and shall traverse on rolling self-lubricating plastic wheels aligned in the channel runway.  Each carrier shall contain a self-aligning mechanism designed to prevent damage to the vanes or the carriers when over-rotated.  Stems shall be molded in clear polycarbonate, non-yellowing, high impact-resistant nylon.  Carrier must have a clear, round stem for durability.  Flat stems are not acceptable.

Note to specifier:  select vane width, solid or perforated, crowned or flat.

D.	Vanes: 3-1/2" [2"] wide, 100 percent extruded PVC, solid [perforated] crowned [flat].

1.	The PVC shall contain ultra violet inhibitors.  Calcium carbonate content shall not exceed 15 percent.  Vanes shall withstand 140-degree heat chamber for thirty minutes without distortion, and with not more shrinkage or stretch than 0.5 percent.  A 10-foot vane suspended from the center of one end shall hang straight with no twist, warp or bow.

2.	Vanes shall be permanently flame resistant.

3.	Color shall be as selected from manufacturer's standard color palette.

Note to specifier:  Select one of the following types of PVC Louvers.

4.	Regular Curved PVC shall have a maximum thickness of 0.030”.

or

4.	Regular Flat PVC shall have a maximum thickness of 0.030”.

or

4.	Builder’s Quality PVC shall have a maximum slat thickness of 0.024”.

or

4.	Perforated Flat PVC shall have a maximum thickness of 0.030”.

or

4.	Ribcord Curved PVC shall have a maximum thickness of 0.030”.

E.	Spacing of Vanes:  Carriers shall be attached to each other with a nylon strap.  Stems shall be centered making the headrail reversible.  Spacing of vanes shall be:

Note to specifier:  Select one

3-1/8"  (for 3-1/2" vanes)

1-3/4"  (for 2" vanes)

Note to specifier:  Select rotation, either by bead chain, by wand, or by low voltage motor.

F. Rotation:

1.	Bead Chain:  The louver rotation will be provided by pulling a #10 nickel plated operating bead chain.  Stem rotates 180 degrees.  An aluminum 4-prong tilt rod passes through each carrier and imparts rotation to each carrier hook in unison via worm gears.  Smooth rotation, with a 4:1 ratio, is provided by a system of planetary gears in a molded plastic control unit.  Main planetary gear is metal.  The control unit allows the first vane to hang only 1/2" from the window jam, offering minimal light leakage.

- Safety Track Wand:  Provide fiberglass wand for traversing and rotation.  Wand shall be attached to a lead control unit.  Control shall include a clutch to eliminate damage by over-rotating the wand.

- Low Voltage Motor:  The louver rotation will be provided by activating a hand-held wireless, infra-red remote control transmitter.  This motor shall be powered by either four AA batteries or via low-voltage wiring.  Maximum size available with motor option is 156” in width and 84” in length.

G.	Traversing:  Louvers shall traverse by means of a continuous polyester and nylon cord attached to a master carrier.  The master carrier shall traverse over plastic pulley wheels supported in plastic end caps.  Blinds may traverse right to left, left to right, split draw, centered, or otherwise specified.  The traverse cord shall be held down by a weighted cord pulley.

Note to specifier:  Select from the following valance options, or delete if no valance.

H.	Valance:

1.	Valance shall be Contract Channel Panel Groover Valance, consisting of a crowned vane fitted into valance channel with square corners attached to the headrail with polycarbonate clips for returns.

2.	Valance shall be Standard Square Corner Dust Cover Valence, consisting of a crowned vane fitted into valance channel with square corners attached to the headrail with polycarbonate clips for returns, and continuous dust cover over top of vertical blinds.

3.	Valance shall be Continuous Round Corner Dust Cover Valance, consisting of a crowned vane fitted into valance channel with rounded corners attached to the headrail with polycarbonate return clips, and continuous dust cover over top of vertical blinds.

I.	Installation Brackets:  Brackets shall be of adequate size to facilitate installation. The brackets shall facilitate easy installation and removal of headrail channel.

J.	Intermediate Support Brackets shall be furnished for vertical blinds over 42 inches wide.  Maximum spacing for intermediate support brackets shall be 24 inches.

Note to specifier:  Specify extension brackets if required to support vertical blinds away from the window frame.

- Extension Brackets:  Provide if required.

PART 3	EXECUTION

3.1	EXAMINATION

A.	Inspect substrates and conditions affecting work of this Section. Do not proceed until unsatisfactory conditions have been corrected.

B.	Verify that room temperature is a minimum of 65 degrees F. and that painting and other dust-producing operations are complete.

3.2	INSTALLATION

A.	Install vertical blinds in accordance with manufacturer's recommended installation procedures except as otherwise specified herein.

B.	Install vertical blinds with adequate clearance to permit smooth operation of vertical blinds and any sash operators.  Hold vertical blinds 1/4 inch clear from each side of window opening on inside mount unless other clearance is indicated.

Note to specifier:  Verify clearance from glass with GANA "Glazing Manual" for glass types used on project to avoid heat buildup and possible damage to glass.

1.	Install vertical blinds so that clearance between vertical blind and glass is in accordance with the GANA "Glazing Manual" for types of glass used on the project.

or

1.	Install located so vertical blind is not closer than 2 inches to interior face of glass.  Allow proper clearances for window operation hardware.

C.	Install intermediate support brackets and extension brackets as required to prevent deflection in headrail.

D.	Set tilt and lift controls.  Demonstrate vertical blinds to be in smooth, uniform working order.

3.3	CLEANING

A.	Clean soiled vertical blind surfaces with a mild soap solution.  Do not use steam, hot water, bleach or any abrasive or solvent-based cleaners.  Do not machine wash.  Do not wash metallic colors.

B.	To ensure proper drying, provide adequate ventilation for vertical blinds.

3.4	PROTECTION

A.	Protect vertical blinds as required to assure that they will be without damage at substantial completion.

B.	Replace damaged and defective vertical blinds to satisfaction of Architect.

END OF SECTION